## Sheet1
pH QUALITY CONTROL CALIBRATION LOG
OAKTON 30 |  |  | LRS, Inc.
Date & Time Calibrated | Primary Standards |  | Field Sample Tests |  | Analyst Initials | Notes
|  |  | pH / Time Test #1 | CV/QCS Exp. Date & Lot#
| Exp. Date & Lot # | CV/QCS std reads*
| pH 4.0 - Lot#/exp. | *CV/QCS std reads:
| pH 10.01 - Lot#/exp. | 7.00 @ (±0.1SU) 25.0o C
pH 7.0 - Lot#/exp.
| pH 4.0 - Lot#/exp. | *CV/QCS std reads:
| pH 10.01 - Lot#/exp. | 7.00 @ (±0.1SU) 25.0o C
pH 7.0 - Lot#/exp.
| pH 4.0 - Lot#/exp. | *CV/QCS std reads:
| pH 10.01 - Lot#/exp. | 7.00 @ (±0.1SU) 25.0o C
pH 7.0 - Lot#/exp.
| pH 4.0 - Lot#/exp. | *CV/QCS std reads:
| pH 10.01 - Lot#/exp. | 7.00 @ (±0.1SU) 25.0o C
pH 7.0 - Lot#/exp.
| pH 4.0 - Lot#/exp. | *CV/QCS std reads:
| pH 10.01 - Lot#/exp. | 7.00 @ (±0.1SU) 25.0o C
pH 7.0 - Lot#/exp.
| pH 4.0 - Lot#/exp. | *CV/QCS std reads:
| pH 10.01 - Lot#/exp. | 7.00 @ (±0.1SU) 25.0o C
pH 7.0 - Lot#/exp.
*CV/QCS standard must read within +/- 0.1 S.U. (6.90 - 7.10). Any variation outside of this requires the meter to be recalibrated.
Comments / Maintainence Issues: